Town of Leverett - Planning Board

Site Plan Review Regulations

Adopted at Planning Board Meeting 4/15/2026

Plans submitted for Site Plan Review shall be:

- Submitted on 24-inch by 36-inch sheets;

- Prepared by a Registered Professional Engineer and a Registered Land Surveyor;

- Dimensions and scales shall be adequate to determine that all requirements are met

and to make a complete analysis and evaluation of the proposal;

- All plans shall have a minimum scale of 1”=200’.

Plans submitted for Site Plan Review shall show:

- Existing and proposed topography at 2 foot or 1 meter contour intervals;

- Water provision, including fire protection measures;

- Sanitary sewerage;

- Storm drainage, including means of ultimate disposal and calculations to support maintenance of the requirements in Sections 3000 and 4000 of the Planning Board’s Subdivision Rules and Regulations;

- Parking, access, and egress provisions;

- Planting, landscaping, and screening;

- All boundary line information pertaining to the land sufficient to permit location of same on ground.