Minutes of the Leverett Board of health			Leverett Town Hall

Meeting Date: August 5, 2019				Meeting Start Time: 7:05 PM

Board Members Present: Hillman, Fair, Todd, Sylvan

Clerk: Sue Nagy

- Issued Installers Permit #19-06 to Bostley Sanitary Services. Received check# 8135 for $100.00 for Installers Permit. Signed by Nagy.

- Received Bacteriological Report dated 6/22/2019 from Quabbin Analytical for Leverett Village Coop. Sink absent of Coliform.

- Received DSCP Application for Septic System Design upgrade for 101 Long Hill Rd., owners Anya Jacobs and Kathleen O’Heelan. Received check#855, dated 7/6/2019 for $300.00 for DSCP Application. Assigned DSCP#R2019-08-05a.

Received a letter from Health Agent Steve Ball dated 7/23/2019.

1. Approval of this plan will require the Board of Health, pursuant to CMR 15.405(1)(h)(b), grant a local upgrade approval to aloe a septic tank have in liquid depth fewer than four feet to be installed only if necessary. Fair moved to approve Local Upgrade. Hillman seconded. Motion passed.

2. Approval of this plan will require the Board of Health, pursuant to CMR 15.405(1)(h)(2), grant a local upgrade approval to reduce the separation of the bottom of the leaching area from the estimated seasonal high groundwater from four feet to two feet. Fair moved to approve Local upgrade. Hillman seconded. Motion passed. (FYI: This is a Presby System)

- Fair issued COC (Certificate of Compliance) to 151 Montague Road.

- Received from Marcus Millett of Homestead, Inc., Title 5 Inspection Report dated 7/25/2019 for 21 Teawaddle Hill Road. System passes. Received from Dan Smith checl #753, dated 7/24/2019 for $150.00 for Title 5.

Follow up needed to see if an Arsenic Treatment System has been installed with a contract.

- Received Title 5 Inspection Report from Greg’s WasteWater Removal. dated 7/9/2019 for 194 Montague Rd., owner Lynn Peterfreund & Nicholos Xenos. System Conditionally passes and needs further evaluation.

Received a letter from Steve Ball HA, dated 7/13/2019.The letter stated that a new septic tank and distribution box were installed. On 7/11/2019 and the septic system is now considered to be a passing system.

- Received from William J. Sieruta, P.E. a letter dated 7/14/2019 regarding 20 Bull Hill Rd., owners Susan And John Swartz “as Built” Inspection with attached plans.

- Received from Greg’s Waste Water Removal a Title 5 Inspection Report dated 7/1/2019 for 253 Shutesbury Rd., owner Andrew Barto. Conditional Pass. Needs a new tank.

- Tikos property 42 Shutesbury road. Waster contamination because of beaver activity. Issued emergency Determination so the dam can be breeched.

Issued letter to ConComm: August 5, 2019

To:          Leverett Conservation Commission

From :    Leverett Board of Health

The Leverett Board of Health has determined that an emergency public health issue exists at 42 Shutesbury Road. A beaver dam has raised the level of Doolittle Brook and flooded the occupants shallow well. The dam should be breeched ASAP by the town of Leverett.

The family will continue to look for an animal control company to remove the beavers. In the mean time any further attempt by the beavers to reconstruct the dam will require the Leverett Highway Department to destroy the dam.

Regard:

Michael Fair

Chair, Leverett Board of Health

- Update: 101 Teawaddle Hill Rd., Coliform bacteria was found during recent water test. Fair has been in contact with the owner. A bleach protocol will be initiated. Fiar will take samples and bring them to Quabbin Analytical for testing.

Pumping Reports: 60 Depot, 88 Jackson Hill, 30 Cave Hill, 62 Camp, 60 Amherst, 48 Amherst, 176 Long Plain, 63 Montague, 24 Montague, 60 Camp, 73 Cave Hill, 70 North Leverett, 77 Teawaddle Hill, 260 Long Plain, 77 Jackson Hill, 44 Putney, 20 Bull Hill, 151 Montague, 105 No. Leverett, 21 Leadmine, 80 Jackson Hill, 285 Shutesbury, 82 Juggler Meadow, 55 Teawaddle Hill, 171 No. Leverett, 100A Cave Hill, 119 Juggler Meadow.

Meeting adjourned 8:45 PM.

Susan Nagy

Clerk